## Test Result
Rd-60 Power Consumption Test Report
Test Item | Low Power Consumption Test
Test Location | Room 410, Building C, Huafeng Smart Innovation Port
R&D Personnel | Li Haoyu
Test Personnel | Wei Jie
Review Personnel | Xu Hong, Chen Zifeng
Test Completion Date | 2025-01-20
Test Result | PASS
Details
Low Power Consumption Test Result | 1.67mA when occupied, 77.82μA when unoccupied

## Low Power Consumption Test
Low Power Consumption Test
Test Environment: Room 410, no other moving obstacles, the module is directly fixed on the table for low power consumption test.
Test Method: Short VDD13 and V13 to use the onboard DCDC 1.3V power supply, disconnect the VCC and VCC-3V3 interfaces, then supply power through VCC.
Test Instruments: Rd-61 Module, Rd-60-Kit Development Board, sscom Serial Tool, Laptop, Low Power Tester (This experiment uses Power Monitor BLU 939)
Firmware Version: 5m Low Power Human Presence (2)
| Occupied | Unoccupied
Current Value (mA) | 1.67 mA | 77.82 μA